Rocky Russell Builders, Inc.

106 Regency Blvd.

Greenville, NC 27834

(252) 355-7812

DESCRIPTION OF MATERIALS

| Property Address Plan Name | Stone Haven Lot 35 2334 Great Laurel Ct. Greenville, NC 27834 The Maxwell |
| --- | --- |

| Plan Square Footages: |  |
| --- | --- |
| 1st Floor Heated | 802 |
| 2nd Floor Heated | 1079 |
| Total Heated | 1881 |
| Garage | 415 |
| Floor and Wall Construction: |  |
| Floor | Raised concrete slab 4” nominal thickness |
| Walls | 2x4 |
| Ceiling and Rafter | Engineered trusses |
| Wall Sheathing | ½” OSB with house wrap |
| Roof Sheathing | ½” OSB |
| Insulation R Value: | E300 |
| Walls | 15 |
| Attic | 30 |
| Plumbing, Electrical and Mechanical: |  |
| HVAC | 2-1/2 Ton Bryant 14 SEER Heat Pump w/2 Zone Damper System |
| Plumbing |  |
| Bathroom Faucets | Moen Brantford 2-Handle 4” Spread – Chrome |
| Shower Faucets | Moen Brantford – Chrome |
| Bathroom Water Closets | Mansfields White |
| Kitchen Sink | Dayton Stainless 33 x 22 |
| Kitchen Faucet/Sprayer | Price Pfister |
| Garbage Disposal | ½ HP |
| Water Heater | 50 Gallon Electric |
| Tub/Shower Units Enclosure | Master Bath: Whirlpool/Carolina Classic Midway Shower Guest Bath: Carolina Classic Midway Tub/Shower Unit |
| Fireplace | Heatilator 33” Direct Vent Gas |
| Interior Trim and Paint: |  |
| Doors (Entry) | Front: Smooth Fiberglass Rear: Smooth Fiberglass |
| Doors (Interior) | Masonite 2 panel hollow core with 3 ¼” Casing, Chrome Hinges |
| Interior Trim/Finish |  |
| Baseboard | 5 ¼” Speed Base |
| Door/Window Casing | 3 ¼” Casing |
| Chair Rail | Kitchen/Dining Room |
| Mantel | Charlotte Mantel W/Magma Black Marble Legs/Header/Hearth |
| Stairs | Red Oak Treads/Flooring/Handrails/Wrought Iron Pickets – See RRB for allowances on material parts |
| Kitchen Countertop | Metro Quartz Glacial W/4” Quartz Backsplash |
| Bathroom Countertop | Solid White Cultured Marble, Recessed Oval |
| Hardware – Bathroom | Towel Bars, Rings, Paper Holder – Chrome |
| Hardware – Doors | Kwikset Dorian – Chrome |
| Mirrors | Full Baths: Hanging Mirror – Chrome Powder Room: Hanging Mirror – Chrome |
| Closet Shelving | Closetmaid PVC coated wire |
| Paint |  |
| Trim – Semigloss Latex | Pure White (SW) - Three Coats (includes primer) |
| Walls – Flat | Evening Shadow (SW7662) Monorail Silver (SW7663) Bathrooms Only Two Coats |
| Floor Covering: |  |
| Bathrooms/Laundry | Vinyl |
| Foyer | LVP |
| Family Room, Kitchen, Breakfast | LVP |
| Bedrooms & Hallways | Carpet |
| Blinds | 2” Faux Wood |
| Landscaping: | Front yard: Centipede Sod Sides/Rear yard: Seeded |
| Exterior Finish Detail: |  |
| Patio/Storage: | Rear Porch |
| Vinyl Siding: Front, Rear, & Sides Gable Above Garage Stone Veneer: 1/3 Up Garage Wall Shutters: | Sandstone Beige Sable Brown Cedar Shakes Timber Musket Brown Raised Panel No Shutter In Gable Above Garage |
| Shingles | 15 lb. Felt and GAF 30 Year Dimensional Color: Weatherwood |
| Windows | Single Hung Vinyl Tilt Windows with Screens |
| Allowances: |  |
| Carpet, Pad, and Installation (Per Square Yard) | $16.00 |
| Vinyl Flooring and Installation (Per Square Yard) | $16.50 |
| Lighting Fixtures | $2,150.00 |
| Kitchen Appliances (Stove, DW, & MW) | $1,173.80 |

All allowances include sales taxes and shipping charges unless specified otherwise.

Customer will receive credit for Allowances budgets not used.  Customer is responsible for maintaining an accounting of Allowance expenditures including any overages.  Overages are to be paid directly to Vendor by Customer prior to ordering product.  Contractor will provide Customer with a Closing Summary of Allowance Overages and Signed Change Orders at the closing of the Customer’s loan.

All Customer selections must be made with Contractor’s Approved Vendor List.

The above Allowances and Specifications have been reviewed by Customer(s):

__________________________________________		             ______________________

Customer	                                                                  Date

__________________________________________	             ______________________

Customer                                                                  Date